## 02-07-2024
Sr# | Daily IT Check List | Frequency | Status | Remarks | Checked By
Network
1 | Jio Lease line – 20 Mbps | Daily | Working (Download – 19 Mbps), (Upload 20 Mbps) | Ok | Amarpreet
2 | Airtel Lease line – 10 Mbps | Daily | Working (Download –09 Mbps), (Upload 10 Mbps) | OK | Amarpreet
3 | Wi-Fi - PHF Cabin & Hall 1 & 2 | Daily | Working | OK | Amarpreet
4 | LAN | Daily | Working | OK | Amarpreet
Security
1 | Firewall functioning and Alerts | Daily | Working | 2 attacker IP found and it has been added to the firewall drop rule. | Amarpreet
2 | Antivirus - Sophos and Kaspersky Log Check and alerts | Daily | Working | 4 system found in critical from kesperskey log and need update package. Yesterday was found a virus in sophos menually has been removed, now the system is perfect. | Amarpreet
3 | CCTV working status | Daily | Working | Two camera is taking footage black and white & it is in process. | Amarpreet
Server Room & Hardware
1 | All Server lights normal no warning or alarm | Daily | Dell 710 Server – Off , Dell 740 – Server is On, HP ProLiant – Running in normal mode. | Yes | Amarpreet
2 | UPS working status | Daily | Working |  | Amarpreet
3 | All network Switches functioning status | Daily | Working |  | Amarpreet
4 | A/C working and set to 22°C? (Note the temperature on the sensor) | Daily | Working | 21°C- 02 A/C is ON . | Amarpreet
5 | Overall server room observations | Daily | All Good |  | Amarpreet
AWS Cloud
1 | All hosted applications are UP and runinng normally | Daily | Working
2 | SAP India & Myanmar | Daily | Working
3 | Billing Portal | Daily | Working
4 | Service Portal | Daily | Working
5 | WFM | Daily | Working
Applications
1 | ESS Portal | Daily | Working |  | Amarpreet
2 | SharePoint Portal | Daily | Working |  | Amarpreet
3 | Powerhf.in Website | Daily | Working |  | Amarpreet
4 | Myanmar Material Booking Portal | Daily |  | Checked with SBS team for this portal, its on testing stage… | Amarpreet
5 | SAP Email Alerts | Daily | Working |  | Amarpreet
6 | Billing Portal Email alerts | Daily | Working |  | Amarpreet
7 | Service Portal SMS & Email alerts | Daily | Working |  | Amarpreet
8 | Zoho Email , Forms and expense management | Daily | Working |  | Amarpreet
9 | Powerhf.com Email performance | Daily | Working |  | Amarpreet
10 | Biometric Attendance Replication N Mumbai & Delhi to ESS Portal | Daily | Working |  | Amarpreet
11 | CompuTaxOffice | Daily | Working |  | Amarpreet
12 | CompuTaxOffice data backup | Daily | On daily basis | Data backup taking on external storage (HDD-001) | Amarpreet
13 | ATC Energy web portal | Daily | Working |  | Amarpreet
14 | ATC Energy data backup | Daily | On daily basis | Data backup taking on HP server. | Amarpreet